## BE
| Member State: | Belgium |  |  | Note: this column will be calculated automatically
| Reference Date | 2014-01-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015
1 | Coal Power Plant, Mol site, unit 11 | Lichtstraat 55, 2400 Mol, Belgium | 326 | 506 | 19494
2 | Coal Power Plant, Mol site, unit 12 | Lichtstraat 55, 2400 Mol, Belgium | 344 | 12093 | 7907

## BG
Member State: | Bulgaria |  |  | Note: this column will be calculated automatically
Date | 01 January 2014
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015
TPP "Brikel" | 6280 Gulubovo, region Stara Zagora | 1020 | 20000 | 0
TPP "Maritsa 3" | Industrialna zona, 6400 Dimitrovgrad | 300 | 20000 | 0
TPP "Varna" | 9129 Ezerovo, municipality Beloslav, region Varna | 1791 | 11348 | 8652

## CY
Member State: | Cyprus |  |  | Note: this column will be calculated automatically
Date | 2014-01-01
Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015 | Comments
1 | Moni Industrial Area, Limassol | 128 | 5648 | 14352 | Number of operating hours has been affected by the explosion at the Vasilikos Power Station in 2011. However, Combustion Plants No. 1 - 6 of Moni Power Station are no longer in operation (as from November 2012)
2 | Moni Industrial Area, Limassol | 128 | 8933 | 11067
3 | Moni Industrial Area, Limassol | 128 | 14406 | 5594
4 | Moni Industrial Area, Limassol | 128 | 16155 | 3845
5 | Moni Industrial Area, Limassol | 128 | 17949 | 2051
6 | Moni Industrial Area, Limassol | 128 | 22050 | -2050

## DK
Member State: | Denmark |  |  | Note: this column will be calculated automatically
Date | 2014-01-01
Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015 | Comment
Nordic Sugar | Nykøbing F | 104 | 17975 | 2025
Plant 3, Vattenfall A/S | Fynsværket, Odense C | 750 | 2595 | 17405 | plant shut down in 2010

## EE
Member State: | Estonia |  |  | Note: this column will be calculated automatically
Date | 1 January 2014
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015
Narva Elektrijaamad AS, Balti Elektrijaam (10 and 9 energy units) | Elektrijaama tee 59, Narva | 550 | 17501 | 2499

## EL
| Member State: | Greece |  |  | Note: this column will be calculated automatically
| Reference Date | 2014-01-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015
1 | Megalopoli I | Megalopoli, Arcadia | 360 | 17932 | 2068
2 | Megalopoli II | Megalopoli, Arcadia | 360 | 20091 | <0
3 | Aluminium SA I | Agios Nikolaos, Viotia | 116 | 10872 | 9128
4 | Aluminium SA II | Agios Nikolaos, Viotia | 110 | 11055 | 8945

## ES
| Member State | Spain |  |  | Note: this column will be calculated automatically
| Reference Date | 2014-01-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015 | Comments
1 | CERCS I | Barcelona (Cataluña) | 445 | 12020 | 7980
2 | ESCUCHA I | Escucha - Teruel (Aragón) | 485 | 18155 | 1845
3 | LADA III | Langreo (Asturias) | 435 |  |  | CLOSED IN 2012
4 | SOTO DE RIBERA I-II | Ribera de Arriba (Asturias) | 750 | 11633 | 8367 | GROUP I CLOSED IN 2008
5 | BAHIA DE ALGECIRAS I | Bahía de Algeciras - Cádiz (Andalucia) | 666 |  |  | CLOSED IN 2008
6 | BAHIA DE ALGECIRAS II | Bahía de Algeciras - Cádiz (Andalucia) | 1449 |  |  | CLOSED IN 2008
7 | SABÓN I | Arteixo - A Coruña (Galicia) | 419 |  |  | CLOSED IN 2011
8 | SABÓN II | Arteixo - A Coruña (Galicia) | 1030 |  |  | CLOSED IN 2011
9 | ACECA I | Villaseca de la Sagra - Toledo (Castilla la Mancha) | 832 |  |  | CLOSED IN 2012
10 | ACECA II | Villaseca de la Sagra - Toledo (Castilla la Mancha) | 832 |  |  | CLOSED IN 2009
11 | CASTELLON I | El Grau - Castellón (Comunidad Valenciana) | 1358 |  |  | CLOSED IN 2008
12 | CASTELLON II | El Grau - Castellón (Comunidad Valenciana) | 1358 |  |  | CLOSED IN 2008
13 | SANTURCE I | Santurce - Bizkaia (Pais Vasco) | 1211 |  |  | CLOSED IN 2009
14 | SANTURCE II | Santurce - Bizkaia (Pais Vasco) | 1679 |  |  | CLOSED IN 2009
15 | ESCOMBRERAS IV | Valle de Escombreras - Cartagena (Murcia) | 792 |  |  | CLOSED IN 2010
16 | ESCOMBRERAS V | Valle de Escombreras - Cartagena (Murcia) | 792 |  |  | CLOSED IN 2010
17 | SAN ADRIAN I | Barcelona (Cataluña) | 1032 |  |  | CLOSED IN 2011
18 | SAN ADRIAN III | Barcelona (Cataluña) | 1032 |  |  | CLOSED IN 2011
19 | CRISTOBAL COLON I-II | Huelva (Andalucia) | 626 |  |  | CLOSED IN 2008
20 | CRISTOBAL COLON III | Huelva (Andalucia) | 464 |  |  | CLOSED IN 2009
21 | JINAMAR I | Gran Canaria (Islas Canarias) | 90 | 19991 | 9
22 | JINAMAR II-III | Gran Canaria (Islas Canarias) | 263.15 | 19926 | 74
23 | CANDELARIA (CALETILLAS) III-IV | Tenerife (Islas Canarias) | 263.15 | 19992 | 8

## FI
Member State: | FINLAND |  |  | Note: this column will be calculated automatically
Date | 1 April 2014
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015 | Comments
Fortum Power and Heat Oy Kivenlahti boiler 2 | Espoo | 52 | 1412 | 18588
Fortum Power and Heat Oy, Kivenlahti boiler 1 | Espoo | 52 | 2196 | 17804
Fortum Power and Heat Oy, Kokkola C1 | Kokkola | 50 | NO |  | Closed down March 2008
Fortum Power and Heat Oy, Kokkola C2 | Kokkola | 50 | NO |  | Closed down March 2008
Jyväskylän Energiantuotanto Oy, Savela boiler 3 | Jyväskylä | 82 | 28 | 19972 | Not in use in 2012.
Lahti Energia Oy, Teivaanmäki P1 | Lahti | 56 | 0 | 20000 | Not in use in 2012.
Mussalon Voima Oy (former Mussalon Kaukolämpö oy), Mussalo 1 | Kotka | 200 | 3617 | 16383 | Not in use in 2012.
Metsä Fibre Oy (former Oy Metsä-Botnia Ab), Kemi boiler 9 | Kemi | 156 | 0 | 20000 | Removed from operation for the time being since 22 January 2009.
PVO-Huippuvoima Oy, Vaskiluoto oil | Vaasa | 430 | 63 | 19937
PVO-Lämpövoima, Kristiina, oil | Kristiinankaupunki | 561 | 61.9 | 19938.1
Stora Enso Oyj, Anjalankoski Boiler1 | Anjalankoski | 56 | 1578 | 18422
Stora Enso Oyj, Heinola Pr1 | Heinola | 75 | 1935 | 18065
Stora Enso Oyj, Oulu, Oilboiler | Oulu | 60 | 1095 | 18905
Stora Enso Oyj, Varkaus boiler 5 | Varkaus | 150 | 922 | 19078
Stora-Enso Oyj, Veitsiluoto boiler 6 | Kemi | 193 | 2852.6 | 17147.4 | According to the environmental permit maximum use is 10000 h between 27.11.2004 and 31.12.2015.
UPM-Kymmen Oyj, Jämsänkoski boiler 1 | Jämsänkoski | 71 | 1312 | 18688
UPM-Kymmen Oyj, Jämsänkoski k2 | Jämsänkoski | 60 | 0 | 20000 | Not in use in 2012.
Vaasan Sähkö, Palosaaren silta | Vaasa | 57 | 387 | 19613
Vantaan Energia Oy, Martinlaakso boiler 1 | Vantaa | 196 | 12887 | 7113
Vantaan Energia Oy, Martinlaakso boiler 3 | Vantaa | 68 | 7 | 19993
Elenia Lämpö, Vanaja K4 (former: Vattenfall Lämpö Oy, former Vattenfall Kaukolämpö Oy), Vanaja Power plant, Hämeenlinna Boiler K4 | Hämeenlinna | 59 | 19056 | 944 | A new permit application

## FR
Member State: | France |  |  | Note: this column will be calculated automatically
Date | 2014-09-19
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015 | Comments
PSA Peugeot Citroën Site de Mulhouse (Unité 4) | MULHOUSE | 72 | 6589 | 13411
PSA Peugeot Citroën Site de Mulhouse (Unité 5) | MULHOUSE | 72 | 726 | 19274
Brasserie KRONENBOURG | OBERNAI | 64 | 4704 | 15296
E-ON - Centrale de Lucy | MONTCEAU-LES-MINES | 732 | 9511 | 10489
Peugeot Citroen Automobiles S.A Sochaux (Unité 5) | SOCHAUX | 61.4 | 823 | 19177
Peugeot Citroen Automobiles S.A Sochaux (Unité 6) | SOCHAUX | 61.4 | 29 | 19971
EDF UNITE DE PRODUCTION THERMIQUE DU HAVRE (Unité 1) | HAVRE | 668 | 11982 | 8018
EDF UNITE DE PRODUCTION THERMIQUE DU HAVRE (Unité 2) | HAVRE | 1568 | 10435 | 9565
CPCU - CENTRALE DE BERCY | PARIS | 556.7 | 2358 | 17642
CPCU chaufferie de La Villette | PARIS | 123.7 | 13 | 19987
Chaufferie de GRENELLE | PARIS | 371.1 | 1613 | 18387
Chaufferie de VAUGIRARD | PARIS | 443.9 | 4360 | 15640
CPCU - CENTRALE D'IVRY | IVRY-SUR-SEINE | 371.1 | 1216 | 18784
Centre de Production Thermique de VITRY SUR SEINE (EDF) – tranche 3 | VITRY-SUR-SEINE | 700 | 15070 | 4930
Centre de Production Thermique de VITRY SUR SEINE (EDF) – tranche 4 | VITRY-SUR-SEINE | 700 | 14096 | 5904
Chaufferie de Sarcelles | SARCELLES | 127.6 | 5511 | 14489
PSA PEUGEOT CITROËN - Site de POISSY | POISSY | 187 | 0 | 20000
EDF - Centre de Production Thermique EDF de BLENOD (Unité 2) | PONT-A-MOUSSON | 603.2 | 17898 | 2102
EDF - Centre de Production Thermique EDF de BLENOD (Unité 3) | PONT-A-MOUSSON | 603.2 | 18920 | 1080
EDF - Centre de Production Thermique EDF de BLENOD (Unité 4) | PONT-A-MOUSSON | 618.7 | 19212 | 788
ENDESA FRANCE - Centrale Emile Huchet (Groupe 5) | SAINT-AVOLD | 865 | 13019 | 6981
EDF - CPT Richemont-tranche 3 | RICHEMONT | 186 | 705 | 19295
EDF - CPT Richemont-tranche 5 | RICHEMONT | 314 | 2300 | 17700
EDF - Centre de Production de LA MAXE (Unité 1) | WOIPPY | 700 | 15144 | 4856
EDF - Centre de Production de LA MAXE (Unité 2) | WOIPPY | 700 | 15320 | 4680
UEM (Centrale de Chambière) (HP3) | METZ | 57.7 | 8663 | 11337
E.ON -Centrale d'Hornaing | HORNAING | 670 | 8694 | 11306
Centre de Production Thermique EDF de BOUCHAIN | BOUCHAIN | 700 | 14991 | 5009
Ineos Manufacturing France SAS – unité 1 | MARTIGUES | 120 | 16429 | 3571
Ineos Manufacturing France SAS – unité 2 | MARTIGUES | 120 | 12514 | 7486
Ineos Manufacturing France SAS – unité 3 | MARTIGUES | 120 | 13115 | 6885
EDF Centre de Production Thermique de Martigues – tranche 1 | MARTIGUES | 664 | 2424 | 17576
EDF Centre de Production Thermique de Martigues – tranche 2 | MARTIGUES | 664 | 2509 | 17491
EDF Centre de Production Thermique de Martigues – tranche 3 | MARTIGUES | 664 | 1803 | 18197
Société Vermandoise Industries | VILLERS-FAUCON | 129 | 13010 | 6990
Unité de Production CORDEMAIS (Unité 1) | CORDEMAIS | 1290 | 0 | 20000

## IT
| Member State: | Italy |  |  | Note: this column will be calculated automatically
| Reference Date | 2014-01-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015
1 | A2A S.p.A. (gruppo 1) | BRESCIA (BRESCIA) via Lamarmora 230 | 135 | 10510 | 9490
2 | A2A S.p.A. (gruppo 2) | BRESCIA (BRESCIA) via Lamarmora 230 | 160 | 14967 | 5033
3 | A2A S.p.A. (Macchi) | BRESCIA (BRESCIA) via Lamarmora 230 | 60 | 1389 | 18611
4 | E.ON Produzione S.p.A. (sezione 4) | OSTIGLIA (MANTOVA) S.S. n° 12 dell'Abetone-Brennero km 239 | 800 | 6863 | 13137
5 | E.ON Produzione S.p.A. (gruppo 1) | SASSARI (SASSARI) località Cabu Aspru | 407 | 19724 | 276
6 | E.ON Produzione S.p.A. (gruppo 2) | SASSARI (SASSARI) località Cabu Aspru | 420 | 18067 | 1933
7 | Edipower S.p.A. (sezione 3 e sezione 4)* | SAN FILIPPO DEL MELA (MESSINA) contrada Archi Marina | 800 | 14647 | 5353
|  |  |  | 19138 | 862
8 | Enel Produzione S.p.A. (gruppo 1) | AUGUSTA (SIRACUSA) contrada Bufolaro | 200 | 13594 | 6406
9 | Enel Produzione S.p.A. (gruppo 2) | AUGUSTA (SIRACUSA) contrada Bufolaro | 200 | 14424 | 5576
10 | Enel Produzione S.p.A. (gruppo 3) | AUGUSTA (SIRACUSA) contrada Bufolaro | 200 | 14001 | 5999
11 | Enel Produzione S.p.A. (gruppo 3) | BARI (BARI) via B. Buozzi 35 | 180 | 17 | 19983
12 | Enel Produzione S.p.A. (gruppo 1) | PORTOSCUSO (CAGLIARI) località Portovesme | 430 | 478 | 19522
13 | Enel Produzione S.p.A. (gruppo 2) | PORTOSCUSO (CAGLIARI) località Portovesme | 430 | 2942 | 17058
14 | ERG Power S.r.l. (SA1N/1) | PRIOLO GARGALLO (SIRACUSA) S.P. ex SS 114 Km 9,5 Litoranea Priolese | 139 | 17192 | 2808
15 | Italgen S.p.A. | VILLA DI SERIO (BERGAMO) SP 35 - Via Kennedy | 270 | 4511 | 15489
16 | S.E.F. s.r.l. - Società EniPower Ferrara (CTE1) | FERRARA (FERRARA) piazzale Guido Donegani 12 | 106 | 1200 | 18800
* There is one stack for two different existing combustion plant

## MT
Member State: | Malta |  |  | Note: this column will be calculated automatically
Date | 2014-01-01
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015
MPS1 | Marsa Power Station | 240 | 28687 | -8687
MPS2 | Marsa Power Station | 240 | 30592.75 | -10592.75
MPS3 | Marsa Power Station | 230.3 | 28180 | -8180
MPS4 | Marsa Power Station | 230.8 | 42131 | -22131

## PL
| Member State: | Poland |  |  | Note: this column will be calculated automatically
| Reference Date | 2013-12-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015
1 | TAURON Wytwarzanie S.A., Oddział Elektrownia Siersza | 32-541 Trzebinia | 304 | 14306 | 5694
2 | Synthos Dwory 7, Sp. z o.o., Spółka jawna | 32-600 Oświęcim, ul. Chemików 1 | 108 | 5527 | 14473
|  |  | 108 | 12422 | 7578
3 | EDF Polska S.A.Oddział nr 1 w Krakowie | 31-586 Kraków, ul. Ciepłownicza 1 | 167 | 367 | 19633
|  |  | 167 | 1648 | 18352
|  |  | 167 | 1052 | 18948
4 | Elektrownia Skawina S.A. | 32-050 Skawina, ul. Piłsudskiego 10 | 175 | 25 | 19975
5 | Nadwiślańska Spółka Energetyczna, Sp. z o.o. - Zakład Ciepłowniczy Janina | 32-590 Libiąż, ul. Górnicza 23 | 12 | 19470 | 530
|  |  | 10 | 19609 | 391
6 | Polski Koncern Naftowy ORLEN S.A. w Płocku - Zakład Elektrociepłowni, Instalacja Bloku Energetycznego | 09-411 Płock, ul. Chemików 7 | 174 | 5417 | 14583
7 | ENERGA Elektrownie Ostrołęka S.A. | 07-401 Ostrołęka, ul. Elektryczna 5 | 97 | 13317 | 6683
|  |  | 97 | 17971 | 2029
|  |  | 97 | 14647 | 5353
8 | EDF Polska S.A., Oddział Wybrzeże w Gdańsku, Elektrociepłownia Gdyńska | 80-867 Gdańsk, ul. Swojska 9 81-036 Gdynia, ul. Pucka 118 | 53 | 732 | 19268
|  |  | 53 | 4843 | 15157
|  |  | 69 | 1258 | 18742
9 | TAURON Wytwarzanie S.A., Oddział Elektrownia Blachownia | 47-225 Kędzierzyn-Koźle, ul. Energetyków 11 | 147 | 0 | 20000
|  |  | 147 | 11981 | 8019
10 | Enea Wytwarzanie S.A. Świerże Górne | 26-900 Kozienice | 97 | 1536 | 18464
11 | Elektrociepłownia Zielona Góra S.A. | 65-120 Zielona Góra, ul. Zjednoczenia 103 | 35 | 337 | 19663
|  |  | 35 | 226 | 19774
12 | PGE Górnictwo i Energetyka Konwencjonalna S.A., Oddział Elektrociepłownia Gorzów | 66-400 Gorzów Wlkp., ul. Energetyków 6 | 97 | 764 | 19236
13 | Fortum Bytom S.A., Elektrociepłownia Miechowice | 41-908 Bytom, ul. Elektrownia 18 | 104 | 14840 | 5160
14 | TAURON Ciepło S.A., Zakład Wytwarzania Tychy | 43-100 Tychy, ul. Przemysłowa 47 | 163 | 2398 | 17602
15 | TAURON-Wytwarzanie S.A., Oddział Elektrownia Jaworzno III - Elektrownia II | 43-603 Jaworzno, ul. Energetyków 15 | 176 | 67 | 19933
16 | TAURON-Wytwarzanie S.A., Oddział Elektrownia Łagisza | 42-504 Będzin, ul. Pokoju 14 | 321 | 20000 | 0
|  |  | 321 | 19999 | 1
|  |  | 316 | 0 | 20000
17 | TAURON-Wytwarzanie S.A., Oddział Elektrownia Halemba | 41-706 Ruda Śląska, ul. Piotra Skargi 67 | 174 | 7332 | 12668
|  |  | 174 | 13995 | 6005
18 | TAURON Ciepło S.A., Zakład Wytwarzania Katowice | 40-301 Katowice, ul. Siemianowicka 60 | 159 | 4362 | 15638
|  |  | 159 | 1650 | 18350
19 | TAURON-Wytwarzanie S.A., Oddział Zespół Elektrociepłowni - Elektrociepłownia Bielsko-Biała EC 1 | 43-300 Bielsko-Biała, ul. Tuwima 2 | 98 | 13192 | 6808
|  |  | 98 | 10610 | 9390
|  |  | 111 | 7716 | 12284
|  |  | 183 | 8959 | 11041
20 | ELSEN S.A. | 42-202 Częstochowa, ul. Koksowa 11 | 53 | 13651 | 6349
|  |  | 53 | 0 | 20000
21 | Elektrociepłownia Będzin S.A. | 42-500 Będzin, ul. Małobądzka 141 | 155 | 3104 | 16896
22 | Fortum Zabrze S.A. | 41-800 Zabrze, ul. Wolności 416 | 113 | 16950 | 3050
|  |  | 113 | 12950 | 7050
23 | Zakłady Mechaniczne BUMAR-ŁABĘDY S.A. | 44-109 Gliwice, ul. Mechaników 9 | 32 | 0 | 20000
|  |  | 33 | 0 | 20000
24 | ENERGA Elektrociepłownia Kalisz S.A. | 62-800 Kalisz, ul. Torowa 115 | 12 | 106 | 19894
|  |  | 12 | 0 | 20000
25 | Zespół Elektrowni Pątnów-Adamów-Konin S.A., Elektrownia Konin | 62-510 Konin, ul. Kazimierska 45 | 111 | 0 | 20000
|  |  | 111 | 575 | 19425
26 | Dalkia Poznań ZEC S.A., Elektrociepłownia Garbary | 61-108 Poznań, ul. Panny Marii 3A | 17 | 1836 | 18164
|  |  | 17 | 1844 | 18156
|  |  | 17 | 1837 | 18163
27 | PGE Górnictwo i Energetyka Konwencjonalna S.A. - Oddział Zespół Elektrociepłowni Bydgoszcz | 85-950 Bydgoszcz, ul. Energetyczna 1 | 174 | 0 | 20000
|  |  | 174 | 1035 | 18965
28 | PGE Górnictwo i Energetyka Konwencjonalna S.A. - Oddział Elektrociepłownia Zgierz | 95-100 Zgierz, ul. Energetyków 9 | 33 | 20000 | 0
|  |  | 110 | 489 | 19511
29 | Energetyka Cieplna Opolszczyzny S.A., Kotłownia K-377 | 45-118 Opole, ul. Harcerska 15, 46-300 Olesno, ul. Budowlanych 2 | 2 | 8936 | 11064
|  |  | 3 | 15570 | 4430
|  |  | 3 | 14176 | 5824
30 | FENICE Poland Sp. z o.o., Jednostka Operatywna Podkarpacie w Krośnie | 38-400 Krosno, ul. L. Okulickiego 7 | 16 | 13660 | 6340
31 | Orion Engineered Carbons Sp. z o.o. | 38-200 Jasło, ul. 3 Maja 83 | 25 | 6991 | 13009
32 | Nadwiślańska Spółka Energetyczna Sp. z o.o., Zakład Ciepłowniczy Czeczot | 43-225 Wola, ul. Kopalniana 10 | 15 | 19833 | 167
33 | Nadwiślańska Spółka Energetyczna Sp. z o.o., Zakład Ciepłowniczy Silesia | 43-503 Czechowice-Dziedzice, ul. Górnicza 1 | 18 | 7992 | 12008
|  |  | 18 | 12858 | 7142
34 | PGE Górnictwo i Energetyka Konwencjonalna S.A. - Oddział Zespół Elektrowni Dolna Odra, Elektrownia Dolna Odra | 74-105 Nowe Czarnowo 76 | 563 | 19999.79 | 0.21
35 | Okręgowe Przedsiębiorstwo Energetyki Cieplnej Sp. z o.o, ZEC Wejherowo-Ciepłownia Nanice | 81-213 Gdynia, ul. Opata Hackiego 14, 84-200 Wejherowo, ul. Staromłyńska 41 | 7 | 13554 | 6446
|  |  | 7 | 20000 | 0
|  |  | 7 | 16034 | 3966
|  |  | 7 | 16133 | 3867
|  |  | 15 | 18755 | 1245
|  |  | 15 | 20000 | 0

## PT
Member State: | Portugal |  |  | Note: this column will be calculated automatically
Date | 1 January 2014
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015
Chaminé comum às caldeiras 1 e 2 da Central Termoeléctrica do Carregado (NOTA 1) | Vala do Carregado, 2580-510 Carregado | 636.66 | 566 | 19434 | stopped operating
Chaminé comum às caldeiras 3 e 4 da Central Termoeléctrica do Carregado (NOTA 1) | Vala do Carregado, 2580-510 Carregado | 636.66 | 78 | 19922 | stopped operating
Chaminé comum às caldeiras 5 e 6 da Central Termoeléctrica do Carregado (NOTA 1) | Vala do Carregado, 2580-510 Carregado | 636.66 | 488 | 19512 | stopped operating
Chaminé comum às caldeiras 1 e 2 da Central Termoeléctrica de Setúbal (NOTA 2) | 2910-857 Praias do Sado, Setúbal | 1250.5 | 2297 | 17703 | stopped operating
Chaminé comum às caldeiras 3 e 4 da Central Termoeléctrica de Setúbal (NOTA 2) | 2910-857 Praias do Sado, Setúbal | 1250.5 | 2380 | 17620 | stopped operating
NOTA 1: A Central Termoeléctrica do Carregado cessou a sua actividade, em definitivo, a 1 de Abril de 2012
NOTA 2: A Central Termoelétrica de Setúbal cessou a sua atividade, em definitivo, a 7 de Março de 2013, não tendo ocorrido produção de eletricidade após 31 de Dezembro de 2012.

## RO
| Member State: | Romania |  |  | Note: this column will be calculated automatically
| Reference Date | 2014-01-01
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015
1 | S.C.TERMOELECTRICA S.A - SE BORZESTI | Onesti, str. Fantanele nr.16, jud. Bacau | 1000 | 1335 | 18665
2 | S.C. TERMON S.R.L. ONESTI | Onesti, str. Fantanele nr.16, jud. Bacau | 1140 | 0 | 20000
3 | S.C.TERMICA S.A.Suceava nr. 2 | Suceava, Calea Unirii, jud. Suceava | 58 | 16045 | 3955
4 | S.C.TERMICA S.A.Suceava nr. 3 | Suceava, Calea Unirii, jud. Suceava | 116 | 30 | 19970
5 | S.C.TERMICA S.A.Suceava nr. 4 | Suceava, Calea Unirii, jud. Suceava | 144 | 1383 | 18617
6 | SC CET SA BRAILA Nr.4 | Braila, sos Vizirului km.10, jud. Braila | 73 | 0 | 20000
7 | SC ELCEN Bucuresti SE Palas nr.6 | Constanta, bd. Aurel Vlaicu nr.123, jud. Constanta | 116 | 0 | 20000
8 | SC ELCEN Bucuresti SE Palas nr.8 | Constanta, bd. Aurel Vlaicu nr.123, jud. Constanta | 73 | 0 | 20000
9 | S.C. ENET S.A. nr. 4 | Focsani, bd.Bucuresti nr.4, jud. Vrancea | 116 | 0 | 20000
10 | Termoelectrica SA Buc. SE Doicesti (Gr. Energetic nr.8) | loc.Doicesti, aleea Sinaia nr.18, jud. Dambovita | 470 | 390 | 19610
11 | S.C. LUKOIL ENERGY & GAS ROMANIA S.R.L. ex. S.C.PETROTEL-LUKOIL S.A nr.3 (CT) | Ploiesti, str. Mihai Bravu nr.235, jud. Prahova | 170 | 19627 | 373
12 | S.C. Complexul Energetic Craiova S.E. Craiova II -IMA nr. 2 | Craiova, str. Bariera Valcii nr.195, jud. Dolj | 376 | 11978 | 8022
13 | S.C. Energetic Craiova S.E. Craiova II - IMA nr 3 | Craiova, str. Bariera Valcii nr.195, jud. Dolj | 116 | 0 | 20000
14 | S.C. Energetic Craiova S.E. Craiova II - IMA nr. 4 | Craiova, str. Bariera Valcii nr.195, jud. Dolj | 116 | 0 | 20000
15 | SC Complexul Turceni SA nr.1 | Turceni, str.Uzinei nr.1, jud. Gorj | 789 | 18454 | 1546
16 | SC Complexul Turceni SA nr.4 | Turceni, str.Uzinei nr.1, jud. Gorj | 789 | 20000 | 0
17 | RAAN - Suc. ROMAG TERMO, nr.1 | Drobeta Turnu Severin, str. Calea Jiului km.5, jud. Mehedinti | 990 | 19951 | 49
18 | TERMOELECTRICA SA Paroseni IMA nr.1 | Vulcan, str.Paroseni nr.20, jud. Hunedoara | 540 | 533 | 19467
19 | Electrocentrale Deva S.A IMA nr.1 | com Mintia, str. Santierului nr.1, jud. Hunedoara | 1056 | 16831 | 3169
20 | CET Arad nr. 2 | Arad, str. Vanatori nr.6, jud. Arad | 160 | 2215 | 17785
21 | CET Arad nr. 5 | B-dul.Iuliu Maniu nr.65-71, jud. Arad | 116 | 10979 | 9021
22 | CET Arad nr.6 | B-dul.Iuliu Maniu nr.65-71, jud. Arad | 116 | 10749 | 9251
23 | CET Arad nr.7 | B-dul.Iuliu Maniu nr.65-71, jud. Arad | 116 | 25 | 19975
24 | CET Arad nr.10 | B-dul.Iuliu Maniu nr.65-71, jud. Arad | 116 | 0 | 20000
25 | ELECTRICA ZALAU S.A. IMA nr.3 | Zalau, str.Valea Mitei nr.2, jud. Salaj | 72.3 | 20000 | 0
26 | CET Brasov nr.1 | Brasov, str.Timis Triaj nr.6, jud. Brasov | 674 | 14596 | 5404
27 | SC ELCEN Bucuresti SE Mures nr.2 | Iernut, str.Energeticii nr.1, jud. Mures | 277 | 2887 | 17113
28 | SC ELCEN Bucuresti SE Mures nr.3 | Iernut, str.Energeticii nr.1, jud. Mures | 277 | 12090 | 7910
29 | SC ELCEN Bucuresti Grozavesti nr.2 | Bucuresti, bd. Splaiul Independentei nr.229 sector 6 | 116 | 49 | 19951
30 | SC ELCEN Bucuresti Grozavesti nr.3 | Bucuresti, bd. Splaiul Independentei nr.229 sector 6 | 116 | 7754 | 12246
31 | SC ELCEN Bucuresti Grozavesti nr.4 | Bucuresti, bd. Splaiul Independentei nr.229 sector 6 | 116 | 46 | 19954
32 | SC ELCEN Bucuresti Grozavesti nr.5 | Bucuresti, bd. Splaiul Independentei nr.229 sector 6 | 116 | 4244 | 15756
33 | SC ELCEN Bucuresti Sud nr.6 | Bucuresti, str. Releului nr.2B, sector 3 | 116 | 1165 | 18835
34 | SC ELCEN Bucuresti Sud nr.7 | Bucuresti, str. Releului nr.2B, sector 3 | 116 | 13562 | 6438
35 | SC ELCEN Vest nr.2 | Bucuresti, bd. Timisoara nr.106, sector 6 | 116 | 1141 | 18859
36 | SC ELCEN Bucuresti Vest nr.3 | Bucuresti, bd. Timisoara nr.106, sector 6 | 116 | 12705 | 7295
37 | SC ELCEN Bucuresti Vest nr.4 | Bucuresti, bd. Timisoara nr.106, sector 6 | 116 | 6638 | 13362
38 | SC ELCEN Bucuresti Vest nr.5 | Bucuresti, bd. Timisoara nr.106, sector 6 | 116 | 1230 | 18770
39 | SC ELCEN Bucuresti Vest nr.6 | Bucuresti, bd. Timisoara nr.106, sector 6 | 116 | 0 | 20000
40 | SC ELCEN Bucuresti Titan nr.1 | Bucuresti, str. Ion Sahighian nr.4G, sector 3 | 116 | 0 | 20000
41 | SC ELCEN Bucuresti Titan nr.2 | Bucuresti, str. Ion Sahighian nr.4G, sector 3 | 116 | 0 | 20000

## SI
Member State: | SLOVENIA |  |  | Note: this column will be calculated automatically
Date | 1 January 2013
Plant name | Plant location | Rated thermal input (MWth) | Number of hours operated since 1 January 2008 | Number of hours left for operation until 31 December 2015
JPE G, Energetika Ljubljana, d.o.o., | Verovškova 70, SI-1000 Ljubljana | 257.6 | 1049 | 18951
TE-TOL E, Termoelektrarna Toplarna Ljubljana, d.o.o., | Toplarniška 19, SI-1000 Ljubljana | 164 | 877 | 19123

## SK
| Member State: | Slovakia |  |  | Note: this column will be calculated automatically
| Reference Date | 1 January 2014
Plant number | Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015 | Notes
1 | Smurfit Kappa Štúrovo, a.s. Energetika K4 | Štúrovo | 105.7 | 1964 | 18036
2 | Žilinská teplárenská, a.s. K4 | Žilina | 69.4 | 7049 | 12951
3 | Martinská teplárenská,a.s., kotly HK1,HK2 | Martin | 128.5 | 26 | 19974 | no opareted from 10/2010, installations are dismantled
4 | SLOVENSKÉ ELEKTRÁRNE, a.s. ENO granulačné kotly | Zemianske Kostoľany | 872 | 15257 | 4743
5 | SLOVENSKÉ ELEKTRÁRNE, a.s. EVO I - K13+K14 | Vojany | 656.6 | 0 | 20000
6 | Slov.elektrárne,Vojany, EVO II K25-26 | Vojany | 628.08 | 0 | 20000
7 | Tepláreň Košice, a.s. TEKO Plant 1 | Košice | 131.07 | 1099 | 18901
8 | Tepláreň Košice, a.s. TEKO Plant 2 | Košice | 238.27 | 13305 | 6695
9 | U.S.Steel Košice,s.r.o. (DZ-energetika, kotol PK3) | Košice | 181 | 8891 | 11109 | installation after total reconstruction since 20.12.2010, emission limit values are fulfiled according to Art. 4(2) of the LCP Directive
10 | Mondi scp, a.s. Kotol K3 | Ružomberok | 80 | 3204 | 16796
11 | KVARTET, a.s. - Tepláreň | Partizánske | 118.375 | 3497 | 16503

## UK
Member State: | United Kingdom |  |  | Note: this column will be calculated automatically
Reference Date | 2013
Plant name | Plant location | Rated thermal input (MWth) | Hours operated since 1 January 2008 | Hours left for operation until 31 December 2015 | Status
Eon Grain PS | England | 3700 | 1230 | 8770 | closed
Eon Ironbridge PS | England | 2620 | 10625 | 9375
Eon Kingsnorth PS | England | 5500 | 20000 | 0 | closed
RWE nPower Didcot A | England | 5970 | 20000 | 0 | closed
RWE nPower Fawley | England | 2812 | 837 | 9163 | closed
RWE nPower Littlebrook PS | England | 5500 | 1307 | 8693
RWE nPower Tilbury LCP 1 | England | 2031 | 19920 | 80 | closed
RWE nPower Tilbury LCP 2 | England | 2000 | 19994 | 6 | closed
SSE Ferrybridge C Units 1 & 2 | England | 2724 | 19085 | 915
Eon Workington | England | 140 | 1006 | 18994 | Did not run in 2013
Slough Heat and Power 15, 16 | England | 158 | 8443.6 | 1556.4 | Did not run in 2013
Ballylumford A2 | Larne, Northern Ireland | 600 | 8461 | 11539
Ballylumford A3 | Larne, Northern Ireland | 1200 | 6114 | 13886
Cockenzie Power Station - LCP 1 - (Units 1&2) | Prestonpans, East Lothian, EH32 9SD | 1600 | 19828 | 172 | closed
Cockenzie Power Station - LCP 2 (Units 3&4) | Prestonpans, East Lothian, EH32 9SD | 1600 | 19258.1 | 741.9 | closed
Slough Heat and Power | Slough | 39 | 9775.78 | 224.22 | Did not run in2013