## DW distribution losses
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | zOp-028
Own PI-name: |  | Distribution losses per mains length
Short definition: |  | Real losses per mains lenght plus unbilled consumption and apparent losses
Data provider: |  | EBC |  | European benchmarking Co-operation
Own PI-code: |  | zOp-028
Own PI-name: |  | Distribution losses per mains length
Short definition: |  | Real losses per mains lenght plus unbilled consumption and apparent losses
Data provider: |  | SISPEA |  | Système d'Information sur les Services Publics d'Eau et d'Assainissement
Own PI-code: |  | P106.3
Own PI-name: |  | Distribution losses per mains length
Short definition: |  | Real losses per mains lenght plus unbilled consumption and apparent losses
Data provider: |  | DANVA |  | Danish Water and Wastewater Association
Own PI-code: |  | NDR4500-17=DR4500/AN3000/365
Own PI-name: |  | Specific water loss, mᶟ/transmission and distribution mains length
Short definition: |  | Difference between mᶟ pumped into the distribution network and mᶟ invoiced/transmission and distribution mains length
Data provider: |  | SWWA |  | Swedish Water and Wastewater Association
Own PI-code: |  | Nt106
Own PI-name: |  | Not debited consumption and losses/leakage (m3/ km/day)
Short definition:
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
reference year | data provider | 2-letter country codes | NUTS0-code | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of people served | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[11 empty] | m3/km/day | [5 empty] | [km]
2010 | Aquabench | DE |  | DEF | Schleswig-Holstein 2) | DEF0 | Schleswig-Holstein | 8 | 237584 |  | 1.02 | 0.92 | 1.17 | --- | 0.04 | 1.68 | 191.53 | 255.69 | 67.48 | 458.6
2008 | Aquabench | DE |  | DE7 | Hessen | --- | --- | 12 | 226513 |  | 2.35 | 3.12 | 3.01 | --- | 1.14 | 5.6 | 99.5 | 127.64 | 59.18 | 213.6
2010 | Aquabench | DE |  | DEB | Rheinland-Pfalz | --- | --- | 72 | 2061490 |  | 1.34 | 1.65 | 1.77 | --- | 0.51 | 3.09 | 181.25 | 2905.42 | 88.19 | 459.59
2010 | SWWA | SE | SE0 |  |  |  |  | 197 | 6817000 |  | 5.77 | 7.66 | 10.05 | - | 2.26 | 15.48 | 215 | 301 | 83 | 615
2011 | SISPEA | FR | FR0 |  |  |  |  | 3424 | 32274028 |  |  |  | 3.4
2010 | DANVA | DK | DK0 |  |  |  |  | 57 | 3010180 | 4.500-533.875 | 1.4173 | 1.8675 | 1.7883 | 1.3121 | 0.65912 | 3.5433 | 319 | 466.8825 | 146.1986 | 1020.92
2010 | DANVA | DK |  | DK01 | Hovedstaden |  |  | 19 | 1233581 | 8.900-533.875 | 2.3883 | 2.76 | 3.136 | 1.6487 | 0.86571 | 4.8138 | 205.6 | 275.4319 | 97.44 | 448.8184
2010 | DANVA | DK |  | DK02 | Sjælland |  |  | 7 | 225494 | 12.262-48.893 | 1.6278 | 1.8357 | 1.5557 | 0.74052 | 1.1346 | 2.8044 | 280 | 424.7 | 229.76 | 718.08
2010 | DANVA | DK |  | DK03 | Syddanmark |  |  | 14 | 612768 | 4.500-155.000 | 1.3871 | 1.3955 | 1.5329 | 0.7733 | 0.64437 | 2.0883 | 376.2 | 488.3121 | 157.4817 | 986.74
2010 | DANVA | DK |  | DK04 | Midtjylland |  |  | 12 | 664613 | 10.550-263.847 | 0.97224 | 1.1033 | 1.2687 | 0.67878 | 0.35319 | 1.5294 | 498.75 | 608.0855 | 221.71 | 1073.54
2010 | DANVA | DK |  | DK05 | Nordjylland |  |  | 5 | 273724 | 30.500-107.224 | 1.3647 | 1.6769 | 1.5957 | 0.81233 | 0.84063 | 2.6561 | 813 | 854.56 | 706.7 | 1051.22
2010 | EBC | across geographic Europe | [5 empty] | 32 | 75000000 |  |  | 8.3
2011 | EBC | across geographic Europe | [5 empty] | 32 | 75000000 |  |  | 8.42
2012 | EBC | across geographic Europe | [5 empty] | 32 | 75000000 |  |  | 8.36
Note: France and Sweden=NUTS0 |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
Comment: |  |  |  |  | NUTS 2010-> table: NUTS_AT_2010
1) Weighted by: mains length (C008) [km]
2) data collection is not yet complete

## DW residential consumption
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | Ki1132
Own PI-name: |  | water consumption per population
Short definition: |  | Authorised consumption * 1000 / (Served population * 365)
Data provider: |  | EBC |  | European benchmarking Co-operation
Own PI-code: |  | CI-071
Own PI-name: |  | Residential per capita consumption
Short definition: |  | Residential consumption / population served / assessment period
Data provider: |  | SISPEA |  | Système d'Information sur les Services Publics d'Eau et d'Assainissement
Own PI-code:
Own PI-name: |  | water consumption per population
Short definition: |  | Authorised consumption * 1000 / (Served population * 365)
Data provider: |  | SWWA |  | Swedish Water and Wastewater Association
Own PI-code: |  | Nt101
Own PI-name: |  | Nt101: Debited consumption (l/person/day)
Short definition:
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
reference year | data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of people served | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[10 empty] | l/(capita*day) | [6 empty] | no.of inhabitants served
2010 | Aquabench | DE | DEF | Schleswig-Holstein 2) | DEF0 | Schleswig-Holstein |  | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 12 | 226513 |  | 111.9 | 124.27 | 112.16 | --- | 101.09 | 161.41 | 12436.5 | 18876.08 | 5290.7 | 28306.6
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 72 | 2061490 |  | 121.9 | 126.16 | 127.68 | --- | 106.65 | 158.45 | 16528.5 | 28631.81 | 8465.2 | 61276.2
2010 | SWWA | SE | SE0 | Sweden |  |  | 179 | 6811000 |  | 198.8 | 212.1 | 209.2 | - | 160 | 268.9 | 15520 | 38050 | 4938 | 70567
2011 | SISPEA | FR |  | France |  |  | 3688 | 31183735 |  |  |  | 150.8
2010 | EBC | across geographic Europe |  |  |  |  | 31 | 77000000 |  |  | 134.66
2011 | EBC | across geographic Europe |  |  |  |  | 31 | 77000000 |  |  | 133.33
2012 | EBC | across geographic Europe |  |  |  |  | 31 | 77000000 |  |  | 128.99
Note: France and Sweden=NUTS0 |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
Comment: |  |  |  |  | NUTS 2010-> table: NUTS_AT_2010
1) Weighted by: population served
2) data collection is not yet complete

## Energy DW
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | Ph0171
Own PI-name: |  | Normalized energy consumption
Short definition: |  | Total energy consumption per authorized consumption
Data provider: |  | EBC |  | European benchmarking Co-operation
Own PI-code: |  | zOp-EBC-056 + zOp-EBC-057
Own PI-name: |  | Electricity use per m3 water produced
Short definition: |  | Sum of electricity used for production and distribution
Data provider: |  | DANVA |  | Danish Water and Wastewater Association
Own PI-code: |  | MK8000/OD7100
Own PI-name: |  | Electricity use/m3 authorized consumption
Short definition: |  | Electricity use/m3 authorized consumption
Data provider: |  | SWWA |  | Swedish Water and Wastewater Association
Own PI-code: |  | Nm101
Own PI-name: |  | Electricity use for waterworks, booster pump stations and reservoirs (kWh / produced m3)
Short definition: |  |  | (Datas are from all types of waterworks with groundwater, artificial recharged groundwater and surface water)
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of people served | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[10 empty] | kWh/m3 | [6 empty] | [m³]
2010 | Aquabench | DE | DEF | Schleswig-Holstein 2) | DEF0 | Schleswig-Holstein | --- | --- |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 13 | 226513 |  | 0.56 | 0.55 | 0.49 | --- | 0.14 | 0.87 | 689593 | 2302763.31 | 252725.6 | 3636747.8
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 72 | 2061490 |  | 0.57 | 0.61 | 0.69 | --- | 0.06 | 1.13 | 871069.5 | 1670773.76 | 414253.5 | 3697400.7
2010 | SWWA | SE | SE0 | Sweden |  |  | 181 | 6566000 | - | 0.75 | 1.3 | 0.93 | - | 0.41 | 1.38 | 1158000 | 2841000 | 204000 | 7507000
2010 | DANVA | DK | DK0 |  |  |  | 57 | 3010180 | 4.500-533.875 | 0.48851 | 0.46305 | 0.45753 | 0.18296 | 0.20216 | 0.63797 | 1928055 | 3604061.3333 | 946792.2 | 5722097.6
2010 | DANVA | DK | DK01 | Hovedstaden |  |  | 19 | 1233581 | 8.900-533.875 | 0.30866 | 0.34704 | 0.34319 | 0.23346 | 0.02399 | 0.56648 | 1791092 | 4536521.7895 | 1012974.8 | 4139071.2
2010 | DANVA | DK | DK02 | Sjælland |  |  | 7 | 225494 | 12.262-48.893 | 0.53421 | 0.49009 | 0.50333 | 0.12964 | 0.36628 | 0.57731 | 1928055 | 2343213.5714 | 1657414.8 | 3419060.8
2010 | DANVA | DK | DK03 | Syddanmark |  |  | 14 | 612768 | 4.500-155.000 | 0.52701 | 0.50838 | 0.48076 | 0.065785 | 0.43702 | 0.57952 | 1696224 | 3052255.2143 | 711350.3 | 8811036.3
2010 | DANVA | DK | DK04 | Midtjylland |  |  | 12 | 664613 | 10.550-263.847 | 0.47385 | 0.51153 | 0.53586 | 0.11738 | 0.37996 | 0.66946 | 2506344 | 3329630 | 1016927.3 | 3851846.3
2010 | DANVA | DK | DK05 | Nordjylland |  |  | 5 | 273724 | 30.500-107.224 | 0.62807 | 0.62277 | 0.6022 | 0.12918 | 0.48302 | 0.75848 | 3604171 | 4029590.8 | 2683207.6 | 5719789.2
2011 | EBC | across geographic Europe |  |  |  |  | 31 | 71000000 |  |  | 0.5
2012 | EBC | across geographic Europe |  |  |  |  | 31 | 71000000 |  |  | 0.51
Weighting for rough calculation (by no. of people served, no double counting) | [11 empty] | 0.76002
Comment:
1) Weighted by: authorized consumption (A014) [m³] |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
2) data collection is not yet complete | [5 empty] | NUTS 2010-> table: NUTS_AT_2010

## Energy WW
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | KNA249
Own PI-name: |  | Specific energy consumption WWTP per PE
Short definition: |  | Electrical energy consumption WWTP per PE served by WWTP managed by the utility
Data provider: |  | EBC |  | European benchmarking Co-operation
Own PI-code: |  | wOp-018
Own PI-name: |  | WWTP energy consumption (kWh/p.e. served by WWTP)
Short definition: |  | Energy consumed by wastewater treatment facilities / PE served by wastewater treatment plants managed by the utility
Data provider: |  | DANVA |  | Danish Water and Wastewater Association
Own PI-code: |  | MK4000/DR3100
Own PI-name: |  | Electricity consumption on WWTP/PE
Short definition: |  | Electricity consumption on WWTP/PE
Data provider: |  | SWWA |  | Swedish Water and Wastewater Association
Own PI-code: |  | Nm104
Own PI-name: |  | Electricity use for waste water treatment plants (kWh/p.e./year)
Short definition:
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[8 empty] | p.e |  | p.e. Capacity | kWh / (p.e.*y) | [5 empty] | p.e.
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 34 | 4464508.1 |  |  | 35.28 | 38.44 | 40.48 | --- | 26.58 | 54.87 | 34466.67 | 108890.44 | 5344 | 312258.33
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 57 | 4970285.95 |  |  | 35.41 | 38.74 | 34.09 | --- | 22.68 | 64.27 | 19158.34 | 80165.9 | 2519.16 | 55535
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- | 3 | 8981908.33 |  |  | --- | 28.31 | --- | --- | --- | --- | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 13 | 824178.83 |  |  | 40.64 | 39.46 | 44.05 | --- | 3.98 | 59.29 | 9661.67 | 43377.83 | 0 | 126313.34
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 20 | 2089994.66 |  |  | 34.01 | 36.18 | 29.02 | --- | 26.55 | 48.09 | 32500 | 99523.56 | 8518.33 | 129508.33
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 24 | 16628887.66 |  |  | 37.06 | 40.25 | 38.21 | --- | 28.44 | 51.52 | 140000 | 536415.73 | 0 | 1571300
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 12 | 11257854.9 |  |  | 31.53 | 38.38 | 32.34 | --- | 24.8 | 64.56 | 28977.5 | 865988.84 | 15335.76 | 191731.67
2010 | SWWA | SE | SE0 | Sweden |  |  | 183 | 6081000 | all types |  | 91.1 | 104.4 | 94.7 |  | 48.3 | 172 | 17600 | 33230 | 5580 | 117700
2010 | DANVA | DK | DK0 | Denmark |  |  | 65 | 6933939 | Mostly 3 NP | NA | 43.9922 | 46.1198 | 37.7511 | 15.8123 | 26.8527 | 61.5883 | 70852 | 117524.3898 | 12561.4 | 212591.2
2010 | DANVA | DK | DK01 | Hovedstaden |  |  | 23 | 2245600 | Mostly 3 NP | NA | 48.9808 | 52.2722 | 35.0152 | 21.9827 | 30.9824 | 69.6062 | 25071 | 124755.5556 | 0 | 124400
2010 | DANVA | DK | DK02 | Sjælland |  |  | 8 | 625823 | Mostly 3 NP | NA | 39.7051 | 43.7051 | 39.8119 | 18.4813 | 22.9608 | 67.962 | 79821.5 | 89403.2857 | 32081 | 2887.29
2010 | DANVA | DK | DK03 | Syddanmark |  |  | 12 | 1276589 | Mostly 3 NP | NA | 43.9922 | 46.3531 | 39.179 | 11.705 | 33.7974 | 59.8698 | 73433.5 | 106382.4167 | 37993.1 | 14346.508
2010 | DANVA | DK | DK04 | Midtjylland |  |  | 15 | 1993771 | Mostly 3 NP | NA | 40.2094 | 41.6533 | 36.643 | 10.6577 | 30.011 | 54.1321 | 99117 | 132918.0667 | 46827.4 | 39698.874
2010 | DANVA | DK | DK05 | Nordjylland |  |  | 7 | 792156 | Mostly 3 NP | NA | 51.849 | 48.0378 | 44.3668 | 12.8966 | 29.4428 | 60.0006 | 131505 | 113165.1429 | 36209.2 | 14862.238
2010 | EBC | across geographic Europe |  |  |  |  | 18 | 51000000 |  |  |  | 29.4
2011 | EBC | across geographic Europe |  |  |  |  | 18 | 51000000 |  |  |  | 30.2
2012 | EBC | across geographic Europe |  |  |  |  | 18 | 51000000 |  |  |  | 28.9
Weighting for rough calculation (by no. of people served, no double counting) | [12 empty] | 42.8956
1) Weighted by: population served (no double counting)
2) data collection is not yet complete | [5 empty] | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
NUTS 2010-> table: NUTS_AT_2010

## WW removal efficiency N tot
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | KQA05
Own PI-name: |  | N tot removal efficiency [%]
Short definition: |  | effluent load (to be normalised per p.e. incoming load)
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[8 empty] | p.e |  | p.e. Capacity | % | [5 empty] | m3
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 36 | 4464508.1 |  |  | 74.75 | 74.78 | 76.99 | --- | 59.75 | 88.45 | 4386129 | 11059668.21 | 692012.2 | 28200495.8
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 46 | 4970285.95 |  |  | 82.83 | 81.64 | 71.47 | --- | 66.12 | 94.3 | 2489448 | 7111965.37 | 410336.8 | 5814804.4
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- | 3 | 8981908.33 |  |  | --- | 82.1 | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 13 | 824178.83 |  |  | 76.2 | 72.77 | 72.43 | --- | 50.17 | 89.18 | 2335376 | 5491600 | 1050557 | 11618556
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 19 | 2089994.66 |  |  | 91.74 | 89.6 | 89.62 | --- | 81.34 | 96.95 | 2597503 | 5809201 | 473125 | 9740080
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 22 | 16628887.66 |  |  | 83.65 | 82.71 | 72.51 | --- | 70.89 | 92.46 | 10102882 | 66823711 | 0 | 129498749
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 51 | 2004937 |  |  | 82.03 | 79.73 | 78.04 | --- | 64.74 | 92.77 | 2089465 | 2872800.63 | 1127755 | 5320437
Comment: |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
1) Weighted by: annual treated wastewater (abt50) [m³] | [5 empty] | NUTS 2010-> table: NUTS_AT_2010
Note on R22: SWD: RLP = abt45

## WW removal efficiency COD
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | KQA01
Own PI-name: |  | COD removal efficiency [%]
Short definition: |  | effluent load (to be normalised per p.e. incoming load)
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[8 empty] | p.e |  | p.e. Capacity | % | [5 empty] | m3
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 36 | 4464508.1 |  |  | 94.97 | 94.25 | 94.67 | --- | 91.1 | 96.31 | 4386129 | 11059668.21 | 692012.2 | 28200495.8
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 59 | 4970285.95 |  |  | 94.68 | 94.22 | 94.73 | --- | 90.31 | 97.16 | 2489448 | 7111965.37 | 410336.8 | 5814804.4
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- | 3 | 8981908.33 |  |  | --- | 94.2 | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 14 | 824178.83 |  |  | 94.6 | 94.72 | 94.39 | --- | 92.7 | 97.83 | 2335376 | 5491600 | 1050557 | 11618556
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 20 | 2089994.66 |  |  | 95.47 | 95.07 | 94.89 | --- | 93.22 | 96.62 | 2597503 | 5809201 | 473125 | 9740080
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 23 | 16628887.66 |  |  | 95.69 | 94.7 | 90.73 | --- | 92.76 | 96.64 | 10102882 | 66823711 | 0 | 129498749
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 56 | 2004937 |  |  | 94.63 | 94.17 | 94 | --- | 90.78 | 96.87 | 2089465 | 2872800.63 | 1127755 | 5320437
Comment: |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
1) Weighted by: annual treated wastewater (abt50) [m³] | [5 empty] | NUTS 2010-> table: NUTS_AT_2010
Note on R24: SWD: RLP = abt45

## WW removal efficiency P tot
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | KQA10
Own PI-name: |  | P tot removal efficiency [%]
Short definition: |  | effluent load (to be normalised per p.e. incoming load)
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[8 empty] | p.e |  | p.e. Capacity | % | [5 empty] | m3
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 36 | 4464508.1 |  |  | 88.75 | 85.66 | 90.54 | --- | 71.71 | 95.12 | 4386129 | 11059668.21 | 692012.2 | 28200495.8
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 47 | 4970285.95 |  |  | 87.73 | 83.34 | 90.29 | --- | 65.29 | 95.1 | 2489448 | 7111965.37 | 410336.8 | 5814804.4
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- | 3 | 8981908.33 |  |  | --- | 94.8 | --- | --- | --- | --- | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 12 | 824178.83 |  |  | 85.89 | 85.37 | 88.72 | --- | 78.69 | 95.43 | 2335376 | 5491600 | 1050557 | 11618556
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 20 | 2089994.66 |  |  | 95.04 | 93.66 | 94.72 | --- | 88.96 | 97.13 | 2597503 | 5809201 | 473125 | 9740080
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 23 | 16628887.66 |  |  | 94.37 | 92.59 | 88.59 | --- | 87.19 | 96.84 | 10102882 | 66823711 | 0 | 129498749
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 12 | 2004937 |  |  | 88.18 | 84.38 | 86.87 | --- | 68 | 92.55 | 2089465 | 2872800.63 | 1127755 | 5320437
Comment: |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
1) Weighted by: annual treated wastewater (abt50) [m³] | [5 empty] | NUTS 2010-> table: NUTS_AT_2010
Note on R22: SWD: RLP = abt45

## WW emissions P tot
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | ABT380
Own PI-name: |  | Mean total P effluent load (company)
Short definition: |  | P load in the effluent during the assessment period
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[8 empty] | p.e |  | p.e. Capacity | kg / d | [5 empty] | m3
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 36 | 4464508.1 |  |  | 9.95 | 16.44 | 44.58 | --- | 2.21 | 32.57 | 4386129 | 11059668.21 | 692012.2 | 28200495.8
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 48 | 4970285.95 |  |  | 5.85 | 16.43 | 164.41 | --- | 1.6 | 5.85 | 2489448 | 7111965.37 | 410336.8 | 5814804.4
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- |  | 8981908.33 |  |  | --- | 218 | --- | --- | --- | --- | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 13 | 824178.83 |  |  | 6.72 | 9.5 | 51 | --- | 0.77 | 13.82 | 2335376 | 5491600 | 1050557 | 11618556
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 19 | 2089994.66 |  |  | 4.17 | 8.57 | 48.49 | --- | 1 | 13 | 2597503 | 5809201 | 473125 | 9740080
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 23 | 16628887.66 |  |  | 21 | 116.15 | 531.81 | --- | 3.26 | 307.2 | 10102882 | 66823711 | 0 | 129498749
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 11 | 2004937 |  |  | 7.57 | 8.14 |  | --- | 3.15 | 13.44 | 2089465 | 2872800.63 | 1127755 | 5320437
Comment: |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
1) Weighted by: annual treated wastewater (abt50) [m³] | [5 empty] | NUTS 2010-> table: NUTS_AT_2010

## WW emissions P tot per WWTP
APPENDIX 1 |  | Performance of Water Utilities beyond Compliance
Cooperation between water utility associations and EEA
Data input sheets for Performance Indicators (PIs)
Data provider: |  | Aquabench
Own PI-code: |  | KTA380
Own PI-name: |  | Mean total P effluent load per WWTP
Short definition: |  | P load in the effluent during the assessment period
|  | Data provider: |  | EBC
Data specification |  |  | Underlying coverage for aggregated data | [7 empty] | Statistical parameters for aggregation | [5 empty] | Size class represented
Ref.year | Data provider | 2-letter country codes | NUTS1-code | NUTS1-name | NUTS2-code | NUTS2-name | No of utilities (n) | No of utilities (n) >1 WWTP | No. Of p.e. Served by WWTP | Type of treatment | Size class represented | median | mean | weighted mean 1) | std. Deviation | lower 90%ile | Upper 90%ile | median | mean | lower 90%ile | Upper 90%ile
[9 empty] | p.e |  | p.e. Capacity | kg / d
2010 | Aquabench | DE | DE1 | Baden-Württemberg | --- | --- | 36 | 12 | 4464508.1 |  |  | 4.9 | 11.41 | 25.01 | --- | 1.76 | 25.38 | 4386129 | 11059668.21 | 692012.2 | 28200495.8
2010 | Aquabench | DE | DE2 | Bayern | --- | --- | 48 | 16 | 4970285.95 |  |  | 3.97 | 10.45 | 84.44 | --- | 0.96 | 16.14 | 2489448 | 7111965.37 | 410336.8 | 5814804.4
2011 | Aquabench | DE | DE3/5/6 | Berlin/Bremen/Hamburg | --- | --- | 3 | 3 | 8981908.33 |  |  | --- | 59.9 | --- | --- | --- | --- | --- | --- | --- | ---
2008 | Aquabench | DE | DE7 | Hessen | --- | --- | 13 | 7 | 824178.83 |  |  | 5 | 8.57 | 51 | --- | 0.62 | 13.8 | 2335376 | 5491600 | 1050557 | 11618556
2010 | Aquabench | DE | DE9 | Niedersachsen | --- | --- | 19 | 7 | 2089994.66 |  |  | 3 | 5.87 | 25.21 | --- | 0.76 | 9.54 | 2597503 | 5809201 | 473125 | 9740080
2010 | Aquabench | DE | DEA | Nordrhein-Westfalen | --- | --- | 23 | 16 | 16628887.66 |  |  | 4.45 | 17.98 | 98.6 | --- | 1.97 | 19.46 | 10102882 | 66823711 | 0 | 129498749
2010 | Aquabench | DE | DEB | Rheinland-Pfalz | --- | --- | 11 | 11 | 2004937 |  |  | 1.66 | 1.8 | --- | --- | 0.52 | 3.27 | 2089465 | 2872800.63 | 1127755 | 5320437
Comment: |  |  |  |  | NUTS: | http://epp.eurostat.ec.europa.eu/portal/page/portal/gisco_Geographical_information_maps/popups/references/administrative_units_statistical_units_1
1) Weighted by: annual treated wastewater (abt50) [m³] | [5 empty] | NUTS 2010-> table: NUTS_AT_2010